## VN & RVN Summary
Date | VN # | RVN # | US Ecology Summary Response and/or Cause | Non-odor complaint VN
2014-04-14 | VN_20140414 | RVN_20140512 | active steam generated from Vault 706 due to the dumping of a concentrated sulfuric acid load into water in order to neutralize the acid strength. | Odor complaint VN | More information required
2014-05-22 | VN_20140522 | RVN_20140619 | EQD believes the above observation made on May 21, 2014 is inaccurate and does not constitute violations of the legal requirements cited. Because there was no immediate contact with EQD, there is no way to confirm the odor was coming from our site and there is no way of investigating the odor that you, alone, detected. Moreover, as the observed event occurred during normal business hours, EQD would expect that their site would be immediately contacted by the MDEQ and requested to abate the condition giving rise to any observed nuisance odor. | denied
2014-06-23 | VN_20140623 | RVN_20140707 | As previously indicated, at the time of the AQD observed event on May 21, 2014, both the EQ Director of Operations and the QEHS Manager were conducting an internal facility audit and did not detect strong odors which they could attribute to facility operations. As the facility was not made aware until the following day of any issue, the facility did not have the opportunity on May 21 to corroborate the perceptions of the AQD and investigate possible causes of a problem which may have existed at the time at the facility. AQD has requested information on waste processed on the day in question. Records as maintained by the facility of waste streams processed on May 21, 2014 (Process Batch Analysis) are enclosed with the hard copy of this letter.2 The facility has examined these records and has not identified anything which it would consider atypical as compared to wastes processed on any other day. | repeat
2015-08-25 | VN_20150825 | No Response document in EGLE system
2015-10-27 | VN_20151012 | RVN_20151027 | Upon investigation it was noted the winds were coming out of the Northeast and the temperature had dropped significantly from days prior. These conditions will often result in the air from the facility's stack to drop which could result in nuisance odor. Never, at any time, was there an odor onsite at the US Ecology facility. After the initial complaints, the treated material in Vault 703 was capped to mitigate any possible odors. US Ecology worked with DTE to borrow their misting system to provide an environmentally friendly, water-based deodorant used for neutralizing odors into our Chem-Fix building as an additional precaution. The air system was shut down and processing ceased for part of the day to ensure no odors were being emitted. | ID
2016-08-19 | VN_20160721 | See below SAR_20160819 | Odor testing has not been requested by AQD. However, due to ongoing odor complaints and verified odors in violation of Rule 901, AQD may request testing prior to next inspection if odor complaints continue. At the time of inspection, US Ecology Detroit - South was determined to be in compliance with the Special Conditions of PTI No. 269-04E. However, the facility was determined to be in noncompliance with Rule 901 and General Condition 6 of PTI No. 269-04E for unresolved and ongoing violations of Rule 901. | denied
2016-08-19 | VN_20160803 | SAR_20160819 | COMPLAINT/COMPLIANCE HISTORY: The facility has a long history of odor issues dating back to 1995. Since the last inspection on August 27, 2015, the facility has been issued three Violation Notices, dated October 12, 2015, July 21, 2016, and August 3, 2016, for emitting nuisance odors in violation of Rule 901. These odors are suspected to be associated with the waste stabilization/solidification process. At the time of inspection, the outstanding violation notices were unresolved and the facility was considered to be in noncompliance with Rule 901. Note: When investigating complaints alleging odors from EQ Detroit, the inspector should also consider Greater Detroit Resource Recycling as a possible source, especially if the complaint is nondescript, or if the odors are described as "rotting" or "garbage". Both sources have potential for off-site odors; however, the odor from each source is distinctly different in character. | repeat
2016-10-13 | VN_20160923 | RVN_20161013 | Response for 9/20 and 9/23/16 VN. During the time of the company's investigations it was noted that on September 20, 2016, a large volume of rag oil from an onsite wastewater treatment tank cleanout was being dried up. This requires more dust than normal. In addition, US Ecology's typical dust supplier was down. The subsequent dust the company had to purchase can sometimes produce stronger exothermic reactions which in turn can create a fair amount of steam that can mistakenly viewed as solids. This was most likely the cause for the observation. As a result of these violations, however, USEDS has implemented several important changes to minimize the chances of future issues arising from our normal operation. | id
2016-10-13 | VN_20161004 | RVN_20161013 | See VN_2016023 response | id
2016-12-14 | VN_20161123 | RVN_20161214 | During the post-incident review, US Ecology was unable to identify any waste streams that would have created an abnormal odor issue. As per the agency's request, the batch reports for November 21, 2016 are provided on disk. The lime odor detected is from the routine solidification of our materials in our Chem-Fix operation. As a result of recent violations, however, USEDS has implemented several important changes to minimize the chances of future issues arising from our normal operation. In addition to the aforementioned newly established procedures and changes, the company has been working with an outside vendor and consultant to develop and implement an odor neutralization system | unable
2017-02-16 | VN_20170126 | RVN_2017021 | During the post-incident review, US Ecology was unable to identify any waste streams that would have created an abnormal odor issue. As per the agency's request, the batch reports for January 24, 2017 are provided on disk. The lime odor detected is from the routine solidification of our materials in our Chem-Fix operation. As a result of recent violations, however, USEDS is in the final stages of an odor neutralization system. USEDS anticipates the system to be up and running in the next 10-14 days depending on the weather and any unforeseen computer integration issues. | unable
2017-04-27 | VN_20170427 | RVN_2017051 | On March 8, 2017, southeast Michigan experienced wind speeds in excess of 60 miles per hour. As a result, extensive damage to the company's stabilization building occurred. USEDS worked closely with Rich Conforti on a plan of action to remove waste from the treatment vaults safely and in a timely manner to minimize problems from additional winds and precipitation events. During the planning discussions on March 14, 2017 with both the Waste Management and Radiological Protection division (WMRP) and the Air Quality Division (AQD) to safely remove the remaining solid material from the vaults, you requested that USEDS needed to apply for a temporary Permit to Install. The PTI was approved and the remainder of the waste as well as treatment reagent was removed with the exception of the non-hazardous, primarily liquid Vault 702. Included with this letter is a copy of the timeline of conversations and events that was provided to the MDEQ on March 22, 2017. | id
2017-08-31 | VN_20170815 | RVN_20170831 | USE-DS had a drum dock worker on site from 5:00pm to 11:00pm on August 13th. The Manager of Chem-Fix checked with the drum dock employee on Monday August 14th to find out if he noticed odors on the evening of August 13th. The employee stated that he did not notice any odors emanating from the facility at any time during his shift. Furthermore, when odor complaints of this nature are identified, it is typically during the solidification process. However, this process was not being conducted during the time of the odor investigation. In conclusion, it is USE-OS's stance that the subject Notice ofViolation be rescinded as thecnuisance odors observed by MOEQ at 9:00pm August 13, 2017 could not be from our facility based on the fact that the process was shut down seven and a half hours prior to the odor investigation and the complainant's location is over a mile from the facility. | denied
2018-07-11 | VN_20180620 | RVN_20180711 | MDEQ notified Raymond Landsberg, General Manager, at approximately 9:00pm on June 8, 2018. Mr. Landsberg contacted Paul Haratyk, Operations Manager, and Mr. Haratyk contacted the operator on site. The operator was leaving for the night and said the Chemfix building smelled normal. The operator also indicated the last time lime was used would have been between 7:30pm and 8:00pm and that all vaults were treated by 8:45pm. It is USE-OS's stance that the subject Violation Notice be rescinded as the nuisance odors observed by MDEQ are not applicable to the rule cited. the alleged odors were detected by a very small percentage of residents in the area which would not be a situation suggestive of causing "unreasonable interference with the comfortable enjoyment of life and property". | denied
2018-08-13 | VN_20180731 | RVN_20180813 | Prior to these consecutive Violation Notices (VNs), USE-OS received only two odor VNs in the past year. The most recent being on June 8, 2018 and the one prior to that on August 15, 2017. USE-OS requested a meeting with your office to discuss odors, including, how complaints are reviewed, the efforts that have been taken by USE-OS to reduce odors, what MOEQ's expectations are regarding the subjective language in Rule 901, and what MOEQ would recommend for USE-OS in regard to dealing with the odor violations. The requested meeting took place on August 2, 2018. AQD stated that once an odor complaint is received they will go to the area and investigate ( during reasonable hours of the day). If the odor is downwind of the facility, having an odor level of 3 or more at the complainants property even if fleeting or intermittent, and it is consistent throughout the time of the inspection (1-3 hours) then they will issue a violation. lt was also noted that the farther away the odor is from the facility the more likely they will issue a violation. This RVN had some good discussions and I have saved and will include in the information I summarize and provide. | unable
2018-08-13 | VN_20180808 | RVN_20180813 | See VN_20180731 | unable
2018-10-09 | VN_20180920 | RVN_20181009 | There were several questions from RWDI on the odor survey approach which led to a request for a second meeting with MOEQ. The second meeting took place on August 31, 2018. In Mr. Bergeron's presentation he noted that the one drawback to conducting an odor survey is the lack of scientific/numerical limits, or guidelines available. MOEQ's odor threshold is very subjective where some areas, such as Ontario and other parts of the US, have a numerical limit associated with odors. MOEQ also commented on how they would like Michigan to have numerical limits for odor but know that is not something that will happen in the short-term. This RVN also had good discussions about an odor survey and what that entails so I have also saved it. | denied
2019-09-19 | VN_20190909 | RVN_20190919 | This recent letter is the first odor VN that USE-DS has received since September of 2018. Therefore, it has almost been a year since the last odor VN. In the past year, USE-DS hired a consultant (RWDI Consulting Engineers out of Winsor, ON) to conduct an odor survey to help inform the company's assessment of odors that may be associated with its operations. the results of the odor survey and a letter outlining potential improvement projects were submitted to EGLE's attention on May 29, 2019. With respect to the specific events referenced in the VN, a resident contacted me regarding odors from the facility at approximately 6:30pm on August 28, 2019. I immediately drove to the resident's home and met with them outside for about an hour. Except for two nonconsecutive periods lasting for approximately a minute each time, there were no odors present . In response to the August 27, 2019 and August 28, 2019 odor VN, USE-OS also completed a review of the days in question and found that applicable equipment was functioning properly and no unusual odors were identified by personnel proximate to the site. One of the projects outlined in the "Follow-up to April 26, 2019 Odor Survey Results Meeting" letter submitted to your office on May 29, 2019, was to evaluate Forecast Meteorology software and the possible installation of a meteorological tower on site to work in conjunction with the software. The software would be set up based on the identification of operations which are susceptible to weather. | unable
2020-05-13 | VN_20200422 | RVN_20200513 | This VN response is intended to help facilitate upcoming discussions of the facility's operations in a joint meeting with EGLE's AQD and MMD personnel. USE-DS hopes to gain a better understanding of how AQD intends to apply Rule 901(b), how USE-DS personnel can coordinate with AQD field personnel to better understand its real-world application of the Odor Intensity Scale as well as the other elements of a 901(b) assessment and, ultimately, what additional reasonable steps USE-DS can take to address AQD' s concerns and further our company's commitment to being a responsible corporate citizen and a good neighbor. USE-OS believes the difference between the 901(a) public nuisance claim and the 901(b) private nuisance claim at issue here is an important distinction for consideration when analyzing both the facility's administrative record as well as the methodology being used by AQD to establish what it believes constitutes an unreasonable interference with a particular property owner's use and enjoyment of their property. A lot of detailed discussion so this RVN will be saved. In response to the March 20, 2020 odor VN, USE-DS also completed a review of the day in question and found that applicable equipment was functioning properly. An odor drive of the neighborhood was completed immediately following a call from EGLE by USE-DS's General Manager and the Chemfix Operations Manager. They identified the lime odors noted as the basis of the VN intermittently in the parking lot of the facility but could not detect the odors in the neighborhood of the complainant identified by EGLE. | unable
2020-07-13 | VN_20200622 | RVN_20200713 | USE-DS immediately evaluated the wastes present in the vaults at the time of the odor complaints and identified three non-hazardous waste approvals from Vault 702 whose waste description indicated a potential for odor contribution. While these three nonhazardous wastes had cleared their initial odor screening in the laboratory, the waste description identified herbicide and pesticide process rinsates. Based on review of product SOS, the potential for petroleum or musty odor was possible. Out of an abundance of caution and in response to the odor complaints and corresponding Violation Notice, these three waste approvals have been changed to 'not acceptable for on site for treatment'. These wastes will only be acceptable for "transshipment to another facility". These actions have already been taken and therefore considered to be closed. | id
2020-09-14 | VN_20200824 | RVN_20200914 | USE-DS does not agree with AQD personnel's determination that a Rule 901(b) violation occurred based on the brief detection of odors at St. Aubin and E. Warren. Rule 901(b) is supposed to address the "unreasonable interference with the comfortable enjoyment of life and property" experienced by a property owner at their location. AQD's own internal guidance on the application of Rule 901(b) requires that an investigation document that the intensity of the odor, as well as the duration of the experience, and the frequency with which it impacts a property owner all be documented in support of a violation. .In this case, odors were detectable for a brief period of time and the location AQD offers as the basis for finding an unreasonable interference with someone's property rights is not at the location of the complaint, but rather just across a vacant field from the facility's fence line. USE-OS is greatly concerned · with the method AQD has developed for responding to Rule 901(b) complaints. AQD's approach seems to include driving all around the neighborhood, whether located near the residence alleging a nuisance or not, in search of even an intermittent odor with no regard for the location or duration of detection to justify alleging that a nuisance condition has been established | denied
2020-09-17 | VN_20200917 | RVN_20181009 | USE-DS requested a meeting with your office to discuss odors, including, how complaints are reviewed, the efforts that have been taken by USE-DS to reduce odors, what MDEQ's expectations are regarding the subjective language in Rule 901, and what MDEQ would recommend for USE-DS in regard to dealing with the odor violations. The requested meeting took place on August 2, 2018 (attendees included: Jon Lamb MDEQ, Todd Zynda MDEQ, Dan Belisle USE, Raymond Landsberg USE-DS, and Tabetha Peebles USE-DS). The meeting concluded with AQO recommending USE-DS have an odor evaluation conducted. As suggested, USE-OS solicited the help of a contractor and met with RWDI Consulting Engineers out of Winsor, ON on August 13, 2018. There were several questions from RWDI on the odor survey approach which led to a request for a second meeting with MDEQ. The second meeting took place on August 31, 2018 (attendees included: Raymond Landsberg USE-DS, Tabetha Peebles USE-DS, Brad Bergeron RWDI, Jon Lamb MDEQ, and Todd Zynda MDEQ). Brad Bergeron presented information on conducting an odor survey to MDEQ. | unable
2020-10-27 | VN_20201027 | RVN_20201116 | A call was received by USE-DS personnel from EGLE at 10:00 pm on October 15th, informing USEDS that EGLE was investigating a complaint at Farnsworth and Elwood Streets. EGLE stated that lime chemical odor was detected. The field investigator decided odors were sufficiently intense to support a violation of Rule 901(b). The treatment of waste ceased at 9:00 pm, the operator left the site at 9:15 pm and drove around the area at 9:20 pm, but did not detect any odors. Additional odor evaluations took place earlier in the evening, around 7:30 pm. Please note that USE-DS has been diligent in removing any potentially odorous materials from the waste treatment process, and any of the odors that may have been detected were the normal and customary odors indicative of complying with 40 CFR 268.42 - Treatment Standards Expressed as Specified Technologies for stabilization. In order to enable USE-DS to respond most effectively to odor concerns, we ask that AQD field personnel make every effort to notify me as soon as possible with all essential details when any odor complaint potentially relating to USE-DS is received. This will allow USE-DS to immediately investigate and potentially respond to the complaint and report the results. | denied
2020-12-07 | VN_20201207 | RVN_20201218 | A call was received by USE-DS personnel from EGLE at 12:30 pm on Friday, November 20th, informing USE-DS that EGLE was investigating an odor complaint. USE-DS personnel immediately conducted an odor survey of the area, met the EGLE Inspector and detected odor under ambient conditions. A device known as a scentometer was used by USE-DS personnel to determine the level of odor. The scentometer is a device with a carbon filter that allows for increments of dilution of the suspected odorous air. The amount of dilution required to smell the odor is the basis for the scale. Utilizing the scentometer, odors could not be detected at the dilution level of two (the State of Illinois allows up to a dilution level of 8). At the time of this complaint, EGLE found what they considered to be level 4 odors in the same area. Note that the level 4 identified by EGLE is a subjective evaluation. USE-OS and EGLE identified two very different experiences in the same general area and, furthermore, using two very different scales. One scale being objective and the other subjective. In an effort to reduce the subjectivity of evaluating odors, USE-DS has purchased and completed training on a device called a scentometer that is a commonly used tool in the assessment of odorous conditions. USE-DS would like to request EGLE's participation in conducting a side-by-side review of the scentometer to establish a consistency for evaluating odors. In the event the use of the scentometer is found to have the same results in the side-by-side comparison, USE-DS asks that EGLE will consider the use of the device for odor evaluations and establish a level to be considered a violation of Rule 901(b). | denied
2021-07-28 | VN_20210726 | RVN_20210813 | USE-DS did a thorough evaluation of the daily operating records for the dates noted in the Violation Notice and only identified two days that the ORP reading was not documented when the oil recovery process was operational. Therefore, in response to the missing documentation, personnel have been refreshed on the need to ensure all sections of the form are filled out Also, for ease of records review in the future, a check box will be added to note if treatment is taking place (steam generator operating). Additionally, if the ORP and/or pH probe is out of service and a reading is not available, the operators will manually pull a sample from the scrubber and take the required reading with an external probe. | id
2021-10-07 | VN_20211007 | RVN_20211028 | A call was received by USE-DS personnel from EGLE at 8:37pm on Thursday, September 23rd informing USE-DS that EGLE was investigating several odor complaints. USE-DS personnel conducted an odor survey of the area and detected faint, fleeting odors under ambient conditions. The odors were not persistent enough to utilize the scentometer. Potential Root Cause The treatment process is a chemical reaction that can liberate odors from the process. To reduce odors, the drying time has been increased, which is essentially slowing the chemical reaction and consequentially reducing odors. On the evening of September 23, 2021, the operator which normally completes this process was on vacation and another operator was filling in. There is no way to definitively determine if this is the cause of the odors but based on the evaluation of the events of the day and evening this is the only potential root cause. Therefore, additional training will take place to ensure the practice of increasing the drying time. They then list all of the steps they've taken over the years. | ID
2021-11-01 | VN_20211101 | RVN_20211119 | 10/18/21 - In this case the intensity of the odor was not at a level in which the scentometer could be used and therefore the odor level was lower than the lowest dilution level of two (the State of Illinois allows up to a dilution level of 8). To reduce the odors, the fan speed on the dust collection system was turned down. This action seemed to help according to USE-DS personnel evaluations and the fan speed was left in this lower state. The following evening of October 19, 2021, additional complaints were received and EGLE completed an evaluation after 11:30 pm. The processing of the waste was concluded three hours earlier at 8:30 pm. The operators reported that there were no unusual reactions or odors in the building or outside the facility. The fan speed was in the lower state and increased the following morning as the change did not seem to be helping the odors in the area based on the residential complaints. 10/26/21 - USE-DS personnel found that t'he odor was from an epoxy resin waste being processed in the Chem Fix building. Upon receipt of the epoxy resin waste, procedures were followed to evaluate the odor of the waste stream prior to processing. At the time of the evaluation, experienced personnel determined the waste stream was not too odorous for processing. Additionally, since approximately a thousand 55-gallon drums, thirteen hundred 5-gallon buckets, and one hundred 300-gallon totes of the epoxy resin waste have been processed without incident since 2015, the waste was cleared for processing. Note that at the time of these complaints, the epoxy resin waste was in the batch and processing had ceased. In this case, the screening of the waste stream prior to processing did not catch the odorous material. However, the process of evaluating the waste stream has been extremely effective in the reduction of odors from the process over the past year. Currently, there are no changes needed to the odor evaluation of waste streams. | ID
From the most recent RVN - Summary of what USE-DS notes as their actions to abate odor complaints
Actions Taken by USE-DS In response to this and previous odor violations, USE-DS continues to take the corrective actions below: • Prior to acceptance of a waste stream on-site, the customer must provide USE-DS with details on the waste stream. The preapproval of waste streams is evaluated with more stringent criteria to identify potential odor issues before approving a customer's waste. Waste streams are not approved, at times, solely due to the potential odorous properties. • Screening of samples for odors is a continuous process at the site. Once the waste stream arrives on-site, a sample is pulled for evaluation. If operations or laboratory personnel determine the sample of a waste stream may be too odorous, the waste stream will not be accepted on-site for treatment. Consequently, the waste will be rejected back to the customer or transshipped to another location. • Once a waste stream is identified as odorous, these waste streams are no longer treated on site. The approvals for these wastes have been changed to 'not acceptable on-site for treatment' or 'transshipment to another facility.' • As waste streams are identified as containing ammonia and amines, they are evaluated to determine if they should continue to be received on-site for treatment. This has, and continues to, reduce the volume of ammonia and amines waste streams received for treatment. • The treatment process is a chemical reaction that can liberate odors from the process. To reduce odors, the drying time has been increased, which is essentially slowing the chemical reaction and consequentially reducing odors. • Frequently the odor associated with the treatment process is from the reagents, such as lime, used to bind and dry the waste for landfill disposal. The volume of these reagents has been reduced when treating non-hazardous waste streams. • Treatment of the waste streams occurs in batches. Another tactic taken to reduce odors is reducing the batch size. Ideally, this minimizes odors as well. • To understand the treatment process and odor production from the process, the temperature of the vaults is being logged daily to determine if there is a correlation between odor complaints and higher temperature vault activity. • The weather conditions are also considered. The wind direction is reviewed daily as part of operation's odor evaluation. The direction of the wind is an indicator of where odors may travel and the potential receptors downwind of the site. When the humidity is higher, it traps the odor and causes it to travel farther and linger longer. Also, high winds have been found to contribute to odor complaints off-site. Operations personnel use this information to make operational decisions to further reduce the potential to impact nearby receptors. Treatment is rescheduled as appropriate. • Personnel conduct odor evaluations each day the facility is operating in the morning and in the evening. The evaluations are completed between 7:00 am to 9:00 am and again between 7:00 pm to 9:00 pm. If odor is detected, a scentometer is utilized to determine the level of odor detected. • USE-DS has an on-site initiative to encourage personnel to "say something if they smell something." This initiative has led to earlier investigation of the potential for off-site odors and efforts to remedy the odors before they contribute to any off-site impact.

## Compiled data
Total VN | # of odor VN | # of non-odor VN | Odor Level 3 | Odor Level 4 | Odor Level 3 to 4 | Odor Level 5 | Odor Description |  |  |  | US Ecology Response - Cause identified | US Ecology Response - Cause not them | US Ecology unable to determine if they were the cause | EGLE needs to contact USE - DS ASAP when complaints are received
[7 empty] | Chemical/Fertilizer type | Lime dust and Chemical-Type | Mercaptan odor (Level 5) | moderately strong, objectionable
26 | 23 | 3 | 5 | 2 | 15 | 1 | 1 | 19 | 1 | 2 | 8 | 8 | 7 | Most all RVN